[image: image1.wmf]
Air Monitoring Bulletin

Miller Comprehensive High School
1027 College Avenue

Regina, SK.
Project No. R85.15
July 13, 2015

	Sample
	Date

Sampled
	Start

Time
	End

Time
	Activity
	Location
	Fibers

per cc.
	Comments

	1

	07/13/15
	09:15
	13:01
07/14/15
	Band Room

Mezzanine Mechanical Room

HEPA vacuum
	Band Room
Mezzanine Mechanical Room

Decon. Facility – Clean Room
	0.0012
	Fibre Level Acceptable.

No Concerns Noted.

	2


	07/13/15
	09:16


	13:02

07/14/15
	Band Room

Mezzanine Mechanical Room

HEPA vacuum
	Band Room – Adjacent Decontamination Facility
	0.0009
	Fibre Level Acceptable.

No Concerns Noted.

	3


	07/13/15
	09:17
	13:03

07/14/15
	Band Room

Mezzanine Mechanical Room

HEPA vacuum
	West Corridor – Adjacent Band Room
	0.0011
	Fibre Level Acceptable.

No Concerns Noted.


Trent Blaus

Bersch & Associates Ltd.


[image: image1.wmf]_-1331727280

