[image: image1.wmf]
Air Monitoring Bulletin

Miller Comprehensive High School
1027 College Avenue

Regina, SK.
Project No. R85.15
November 17, 2015                    Facility Clearance Limit for Unprotected Workers = 0.01 Fibers per cc.


	Sample
	Date

Sampled
	Start

Time
	End

Time
	Activity
	Location
	Fibers

per cc.
	Comments

	1

	11/17/15
	16:05
	22:51

	South Concourse – Perimeter Clean-up
	South Concourse – West End

(Bench in Centre of Corridor)
	0.0015
	Fibre Level Acceptable.

No Concerns Noted.

	2


	11/17/15
	16:06


	22:52


	South Concourse – Perimeter Clean-up
	South Concourse – East End

(Bench in Centre of Corridor)
	0.0018
	Fibre Level Acceptable.

No Concerns Noted.

	3


	11/17/15
	16:07
	22:53
	South Concourse – Perimeter Clean-up
	East Entrance

(Scaffold deck in Entranceway)
	0.0024
	Fibre Level Acceptable.

No Concerns Noted.


Analyzed as per NIOSH 7400 Method for Sampling and Evaluating Airborne Asbestos Dust / Asbestos Fibre Counting - NIOSH 582E.  Occupational Health & Safety of the Province of Saskatchewan regulations state where an asbestos process has been completed the air monitoring must verify that airborne asbestos fibre concentrations are less than 0.01 fibres per cubic centimeter of air.

Trent Blaus

Bersch & Associates Ltd.


[image: image1.wmf]_-1331727280

