PAGE  
Page 4
Pre-Contamination Checklist


Pre-Contamination Inspection Check List

	Contractor:
	All-Pro Environmental Contracting

	Project:
	Miller High School – Crawlspace Phase I

	Date:
	March 3, 2015

	Scope:
	Crawlspace Clean-up / Asbestos Abatement


Personnel:

	Item
	Complete/Comments

	Supervisor Training
	Documents on-site

	Worker Training
	Documents on-site

	Respirator Fit Tests (Workers)
	Documents on-site


Documentation:

	Item
	Complete/Comments

	Written Work Procedures
	Documents on-site

	MSDS Sheets
	Documents on-site

	Waste Manifests
	Generated as required

	Equipment Certification
	Documents on-site

	Respirator Logs
	Documents on-site

	Hazard Signs Posted
	Posted at entry points


Containment:
	Item
	Complete/Comments

	Sealed Floors, Walls, Doors
	Work area isolated

	Penetrations Sealed
	Complete

	Mechanical Isolated
	Complete

	Electrical Isolated
	Complete

	Work or Lock Out Permit
	N/A

	Access Provided
	Complete

	6mil Poly Sheeting
	Complete

	Poly Doors Downstream Opening
	Complete

	Lockable Doors (Exterior)
	N/A – Access restricted to enclosure


Decon. Facility – Waste Transfer:
	Item
	Complete/Comments

	Wash Tank
	Wash pail & rags

	Waste Water Handling Provisions
	Complete

	6mil Asbestos Bags
	Complete

	Tape or Bag Wire
	Complete

	Exterior Door Ventilation
	N/A

	Exterior Door Lock
	N/A – Access restricted to enclosure


Decon. Facility – Clean Room:
	Item
	Complete/Comments

	Exterior Door Lock
	N/A – Access restricted to enclosure

	Door Ventilation
	Complete

	Mirror
	N/A

	Shelving/Towels/Suits
	Complete

	Clothes Hangers
	Complete

	First Aid Kits
	Complete

	Benches
	Complete

	Respirator Maintenance Area
	Complete

	Respirator Filters/Batteries/Masks
	Complete


Shower:

	Item
	Complete/Comments

	Shower In Place
	Complete

	Hot/Cold Water Tested
	Complete

	Shower Drain Provision
	Complete

	Soap/Shampoo Supply
	Complete

	Respirator Hanger Provision
	Complete

	Water Shut Off Accessible
	Complete


Negative Air Units (HEPA Filtered):

	Item
	Complete/Comments

	Negative Air Unit(s) Installed 
	Units installed – DOP tested in place

	Exhaust Complete
	Complete

	Negative Air Tested
	-0.04” at project start

	Manometer Installed
	Digital manometer on site

	Pre-Filters/Primary Filters Installed
	Complete


Supplied Air Line:

	Item
	Complete/Comments

	Air Line Supply In Place
	PAPR in use

	Air Line Filtration
	PAPR in use

	Air Line Hoses In Place
	PAPR in use

	Air Line Tested
	PAPR in use


Equipment:

	Item
	Complete/Comments

	Temporary Lighting
	Complete

	Scaffolds/Ladders
	N/A

	HEPA Vacuum(s) & Hose(s)
	On-site

	Wetting Supply
	On-site

	Ground Fault Panels
	On-site

	Extension Cords
	On-site

	Boots Available
	On-site

	Scrapers/Wire Brushes
	On-site

	Brooms/Mops/Shovels/Squeegees
	On-site

	Special Tools
	N/A


	Special Concerns:
	Work in Crawlspace has limited access and egress.  

	
	Contractor is aware of access and exit points.  

	
	

	
	

	
	

	
	

	Inspector:  (Print)
	Trent Blaus

	Signature
	Trent Blaus

	Date:
	March 2, 2015

	Time:
	15:00

	Approved (circle):
	Yes       No


